## NC Writer
NC Writing Checklist
Write the finding in this order — requirement, evidence, statement — then grade it and run the pre-issue check. One finding per sheet. Print or fill on screen.
Audit ref: | Process: | Auditor: | Date:
1 · Requirement — quote it, don't paraphrase it
A requirement you cannot quote is not a requirement you can raise. Copy the exact 'shall' from your licensed copy of the standard, or the paragraph of your own procedure — and if it is your procedure, still name the clause it exists to satisfy.
Standard or procedure, clause number and title:
e.g. ISO 9001:2015 7.1.5.2 Measurement traceability · QP-009 §4.3
The requirement, quoted (keep the sentence that was broken; mark cuts with …):
Secondary clause for trending (optional — 8.1 for 'procedure not followed', or the process clause):
2 · Evidence — something a second auditor could find again
Facts with handles: document number / revision / date, gauge or asset number, part / operation / line / shift, what you asked and what was answered, what was NOT there and where you looked. Roles and record numbers, not blame.
What you saw, where, when, and who was involved (by role or record):
Where a second person can re-find it today (register, location, record ID):
3 · Statement — the requirement, said in the negative
One complete sentence. No 'shall'. None of the evidence. Wide enough that the owner has to look for other instances; it is the problem statement for the 5-Why / 8D that follows.
Statement of nonconformity:
4 · Grade — the system, not the story
Grade | Tick | Meaning
Major |  | The process cannot meet the requirement — total breakdown, a pattern you cannot trust, customer/legal risk, or (IATF) probable shipment of nonconforming product.
Minor |  | A requirement was not fulfilled but the process around it still works — isolated, contained, the system is not blind.
Observation / OFI |  | No broken 'shall'. Useful and optional. Not a bargaining position for a real NC.
Grade justified in one sentence that refers to the system:
5 · Pre-issue check — do not issue until every row is Yes
Check | Yes | No | If No — what to fix
One requirement, quoted, with a clause number
Evidence a second person can re-find (ID, date, place, record)
Statement = the requirement in the negative, with no evidence inside it
One issue per finding (not three problems glued together)
Grade explained in one sentence about the system
Statement is a usable problem statement for cause analysis
Clause checked (Clause Explorer / the text), not guessed
If they only fix the example, I will reject the closure
Then lock it. Findings soften in the hours after the audit — write the three parts while you are still on the process and freeze them before the closing meeting. (In Qlause Audit Manager: capture against the clause, attach evidence, lock.)
Qlause · qlause.app · Interpretive guidance only — quote the requirement from your licensed copy of the standard.

## Worked example
Worked example — the same evidence, twice
Internal audit of production, day shift, line A. The operator at OP20 is checking special characteristic A on part 12345 with a 0–25 mm micrometer. No identification, no calibration label. The operator says it was on the bench at the start of the shift and assumed it was fit for use. The calibration register has no entry for it.
Thrown out in the closing meeting
“Calibration is a problem in production. Operators should take more care with gauges. Improve awareness of the calibration procedure.”
Why it dies
No clause — anyone can say “where does it say that?”
“Should” and “improve” are advice, not a finding
It blames the operator
Nothing specific enough to contain, and nothing systemic enough to correct
The same evidence, written so it holds
Requirement:
ISO 9001:2015, 7.1.5.2 Measurement traceability (unchanged in substance in the 2026 edition). [Paste the exact sentence from your licensed copy here — in plain terms: where traceability is required or needed for confidence in the results, measuring equipment is calibrated or verified against traceable standards at set intervals or before use, and identified so its status can be determined.] IATF shops: add IATF 16949 7.1.5.2.1 for the missing calibration record.
Evidence:
At 09:40 on 12 August 2026, the operator at OP20 on line A was using a 0–25 mm Acme micrometer (no asset number visible) to check special characteristic A on part 12345. The instrument carried no identification or calibration label. The operator stated the micrometer was on the bench at the start of the shift and they assumed it was fit for use. The Calibration & Equipment Register (FM-019, Rev 6) has no record of this instrument.
Statement:
Measuring equipment used to verify a special characteristic was not under calibration control: it was not identified so that its status could be determined, and there was no evidence it had been calibrated or verified.
Grade and one-sentence justification:
Minor if the calibration system otherwise knows every instrument and this is an isolated escape. Major if the register cannot tell current from overdue across the shop — or, for IATF, because an unknown-status gauge on a special characteristic makes shipment of nonconforming product probable.
Why the statement covers both halves: a statement about identification alone can be closed with a “status: uncalibrated” sticker. The evidence shows one control failing (calibration control of measuring equipment) with two symptoms — still one finding.
The operator is in the evidence because that is where the gap was found. They are not in the statement, because they are not the requirement that failed. The next question — “why was measuring equipment in use not identified?” — is one the system can answer.
Qlause · qlause.app · Interpretive guidance only — quote the requirement from your licensed copy of the standard.

## How to use
How to use the NC Writing Checklist
A nonconformity is the non-fulfilment of a requirement (ISO 9000). Not a vibe, not a lecture, not a to-do list — a requirement that was not fulfilled, shown with evidence a second person can check. This sheet holds you to that in the order that keeps findings honest.
The three parts, in order
1. Requirement — Quote the exact 'shall' from your licensed copy, with clause number and title. Requirement first stops you inventing a gap. If it is your own procedure, quote that paragraph and still name the standard clause it serves — usually 8.1 (d) if the process was not run to its criteria, 8.1 (e) if the records cannot show it was; add the process clause for trending.
2. Evidence — Facts with handles: numbers, revisions, dates, places, roles, records — and what was NOT there. Evidence second stops you writing an essay. One strong item can carry a finding; two or three from the same control make a pattern; unrelated misses are other findings.
3. Statement — One sentence, the requirement said in the negative, no 'shall', no evidence in it. Statement last is the sentence corrective action has to answer. Test: delete the evidence — does the statement still name a broken requirement?
Grade the system, not the story
Minor: a requirement missed, but the process around it still works. Major: the process cannot meet the requirement — a breakdown, a pattern you cannot trust, customer or legal risk. IATF shops grade to the IATF Rules: probable shipment of nonconforming product is a major on its own. Observation / OFI: no broken 'shall'. Grade after the statement is clean, never before.
Correction vs corrective action
Correction fixes the instance (label the gauge). Corrective action removes the cause (fix the process that let an unidentified gauge reach the line). A statement written around the example invites correction and stops there. Write it around the requirement.
Then lock it
Findings soften between the audit and the report — wording gets 'simplified', evidence gets 'fairer'. Write the three parts on the process and freeze them before the closing meeting. The meeting can discuss containment and cause; it should not rewrite what was found. Qlause Audit Manager (qlause.app/audit-manager) captures the finding against the exact clause, attaches evidence and locks it read-only; the free Internal Auditor course (qlause.app/training/internal-auditor) teaches the whole method, and the Clause Explorer (qlause.app/clauses) is where to check the clause before someone else does.
Interpretive guidance only — not a substitute for ISO 9001, IATF 16949, ISO 19011 or your licensed copy of the standard. This kit does not reproduce standard text; quote it from your own copy.
Qlause · qlause.app · Practical quality. No buzzwords.